**QUIVIRA ROAD, 159TH STREET TO 179TH STREET**

**Overland Park Project No. TH-1665**

**KDOT Project No. 46 N-0659-01**

**Federal Project No. STP-N065(901)**

**Johnson County CARS Project No. 320001310**

**QuestCDN Project No. 6333742**

# June 10, 2019

# Addendum No. 1

## TO ALL prospective BIDDERS:

The Contract Documents are hereby amended by the following modifications:

1. Pre-Bid Conference Agenda and Sign-in Sheet

* Note Section V. Contractor Questions and answers

1. WaterOne specifications:
2. Section 01010 – Project Requirements, page 01010-3, paragraph 3.A PROJECT SCHEDULE.

Insert at the end of the paragraph:

“Under normal conditions, and at WaterOne’s discretion, an exception to the schedule requirement may be made for the relocation of the 24” water transmission main south of 175th Street.”

1. Section 01010 – Project Requirements, page 01010-10, paragraph 20. QUALIFICATIONS OF BIDDERS.

Insert as the first paragraph:

“The following contractors have successfully performed large diameter water transmission main work in the past for WaterOne and are hereby listed as qualified Bidders:

Beemer Construction

BRB Contractors

Garney Construction

Kissick Construction

Redford Construction

Other Bidders not listed above shall demonstrate adequate qualifications to perform the work as described in the remainder of this paragraph.”

1. Section 02220 Excavation and Trenching, page 02220-10, paragraph 15. Encasement Pipe.

Insert at the end of the paragraph:

“For this project, steel encasement pipe can be installed in an open trench or bored per Paragraphs 16 and 17 of Section 02220 Excavation and Trenching.”

1. For informational use only, attached is the geotechnical report and as-builts for Project 197 - 36” Water Transmission Main, Quivira Road 159th Street to 175th Street, installed in 1997.