## Sheet1
PROJECT NAME
City Project No. ______________
KDOT Project No._____________
Date ___________
SUBMITTAL CHECKLIST
Primary
Item | Description | Submittal | Reviewer
Subcontractor List
| Original Subcontractor List | List | PM
Construction Schedule
| Original Construction Schedule | Schedule | PM
Construction Video
| Preconstruction | Video (IAW S-81) | PM
| Post Construction | Video (IAW S-81) | PM
Aggregates
| Temporary Surfacing Material (AB-3) | KDOT Type B Certification | CI
| Aggregate (CA-5) | KDOT Type B Certification | CI
| Aggregate (UD-1) | KDOT Type B Certification | CI
| Aggregate (BD-1) | KDOT Type B Certification | CI
| Aggregate (57 Rock) | KDOT Type B Certification | CI
| Aggregate Base Course (OP Special) | KDOT Type B Certification | CI
Asphalt
| Asphaltic Concrete (Surface Course) | Mix Design | PM
| Asphaltic Concrete (Intermediate Course) | Mix Design | PM
Sidewalk 4K Concrete
| KCMMB | Mix Design | CI
| Expansion Material | KDOT Type D Certification | CI
| Liquid Membrane-Forming Compounds (Curing Compound) | KDOT Type C Certification | CI
Sidewalk Ramps
| KCMMB | Mix Design | CI
| Expansion Material | KDOT Type D Certification | CI
| Liquid Membrane-Forming Compounds (Curing Compound) | KDOT Type C Certification | CI
| Reinforcing Steel (Epoxy) Grade 40 | KDOT Type B Certification | CI
| Type "M" Mortar (OPM) | KDOT Type C Certification | CI
| Detectable Warning Pavers | KDOT Type B Certification | CI
Curb 4K Concrete (All Types)
| KCMMB | Mix Design | CI
| Liquid Membrane-Forming Compounds (Curing Compound) | KDOT Type C Certification | CI
| Expansion Material | KDOT Type D Certification | CI
| Reinforcing Steel Grade (40) | KDOT Type B Certification | CI
Paver Brick
| Concrete Base KCMMB (4K) | Mix Design | CI
| Geotextile Fabric | KDOT Type D Certification | CI
Modular Retaining Wall
| Block Supplier | (IAW S-42) of the Specifications | CI
| KCCMB 4K (Leveling Pad) Supplier | Mix Design | CI
| 6" Type "H" Pipe Underdrain | KDOT Type D Certification | CI
| Granular Backfill | KDOT Type B Certification | CI
| Geotextile Fabric (for underdrains) | KDOT Type D Certification | CI
Integral Sidewalk and Retaining Walls (4K)
| KCMMB 4K | Mix Design | CI
| Form Liner | KDOT Type C Certification | CO
| Reinforcing Steel Grade (60) | KDOT Type B Certification | CI
| Type "B" Expansion Material | KDOT Type D Certification | CI
| Granular Backfill | KDOT Type B Certification | CI
| PVC Water Stop | KDOT Type D Certification | CI
| Geotextile Fabric (for underdrains) | KDOT Type D Certification | CI
| 6" Type "H" Pipe Underdrain | KDOT Type D Certification | CI
| Form Ties | (IAW S-67) of the Specifications | CO
Storm Sewer
| Precast Structures | Shop Drawings & Mix Design | CO
| Manhole Steps | KDOT Type D Certification | CI
| Post Construction Video | Video (IAW S-38.5) | PM
| Heavy Duty Ring and Lid | KDOT Type B Certification | CO
| Medium Duty Ring and Lid | KDOT Type B Certification | CO
| Reinforced Concrete Pipe and 48" End Section | KDOT Type D Certification | CI
| Inlet Steel Frame Supplier | KDOT Type B Certification | CI
| KCMMB 4K (Lids, Inverts, Pipe Collars) | Mix Design | CI
| Reinforcing Steel Grade 40 | KDOT Type B Certification | CI
| Flowable Fill Supplier | KDOT Type B Certification | CI
Reinforcing Steel
| Grade 40 (Standard) | KDOT Type B Certification | CI
| Grade 60 (Standard) (Epoxy) | KDOT Type B Certification | CI
| Reinforcing Steel Bar Chairs (Standard) (Epoxy) | KDOT Type B Certification | CI
| Grade 60 (Standard) Alternate Source to Carter Waters | KDOT Type B Certification | CI
Expansion Material
| Fiber Expansion Joint-Curb | KDOT Type D Certification | CI
| Fiber Expansion Joint-Sidewalk | KDOT Type D Certification | CI
Underdrain
| Underdrain (Type H) | KDOT Type D Certification | CI
| Underdrain (Type L) | KDOT Type D Certification | CI
| Underdrain Outlet Pipe (Type K) | KDOT Type D Certification | CI
| Geotextile Fabric | KDOT Type D Certification | CI
| Aggregate (CA-5) | KDOT Type B Certification | CI
Fly Ash and Provider
| Fly Ash | KDOT Type B Certification | CI
Restoration
| Fescue Sod | KDOT Type B Certification | CI
| Fescue Sod Fertilizer | KDOT Type B Certification | CI
| Bluegrass Sod | KDOT Type B Certification | CI
| Bluegrass Sod Fertilizer | KDOT Type B Certification | CI
| Brome Seed Mix | KDOT Type B Certification | CI
| Brome Seed Mix Fertilizer | KDOT Type B Certification | CI
| Temporary Seed Mix | KDOT Type B Certification | CI
| Class I Erosion Control Mat | KDOT Type D Certification | CI
| Temporary Seed Fertilizer | KDOT Type B Certification | CI
| Mulch | (IAW S-59.1) of the Specifications | CI
| Tree Replacement | Nursery Source | CI
| Landscape in Median | Nursery Source | CI
Erosion Control
| Sediment Retention Wattle | IAW S-71.3 of Specifications | CI
| Erosion Control Blanket | KDOT Type D Certification | CI
| Gutter Buddy | KDOT Type D Certification | CI
| Gravel Bags | (IAW S-58.1) of the Specifications | CI
| Silt Fence | KDOT Type D Certification | CI
| Hydraulic Mulch | KDOT Type D Certification | CI
Service Water Line
| Pipe and Connections | (IAW S-57) of the Specifications | PM/CO
Sprinkler System
| Lawn Sprinkler System | Catalog Cuts | CO
Land Corner Monument Box
| Monument Box | KDOT Type D Certification | CI
Slope Protection
| Rip Rap 18" Light | KDOT Type B Certification | CI
| Geotextile Fabric | KDOT Type D Certification | CI
Street Lighting
Cable
| Locating Cable (Red) 1c No. 10 AWG THHN/THWN | Approved Materials List | TS
| Electrical Service Power Cable 3-1c #4 AWG | Approved Materials List | TS
| Distribution Cable 3-1c No. 4 AWG Type USE | Approved Materials List | TS
| Pole & Bracket Cable 1c No. 10 AWG Type THHN/THWN | Approved Materials List | TS
Break-away Pole Device
| Frangible Bases or Couplings | Approved Materials List | TS
Concrete Mix Design
| Controller Foundation | Mix Design | TS
Conduit and Fittings
| Schedule 40 PVC Conduit, 1" (for Ground Cable Equipment) | Approved Materials List | TS
| Sch 40 PVC (Gray) Conduit 3" or SDR 13.5 HDPE (Blk w/Red Stripe) Conduit 2" | Approved Materials List | TS
| PVC Conduit Couplings | Approved Materials List | TS
| Standard PVC Conduit Elbows | Approved Materials List | TS
| Large Radius PVC Conduit Elbows (Electrical Service) | Approved Materials List | TS
| SDR 13.5 HDPE (Gray) Conduit, 2" | Approved Materials List | TS
| SDR 13.5 HDPE (Gray) Conduit, 3" | Approved Materials List | TS
| HDPE Conduit Couplings | Approved Materials List | TS
Control Centers
| Aluminum Control Center | Approved Materials List | TS
Electrical Connector Kits & Fuses
| Break-Away Non-Fussed Connector Kits | Approved Materials List | TS
| Break-Away Fused Connector Kits | Approved Materials List | TS
| 8 AMP Fuse | Approved Materials List | TS
| Multiple Streetlight Tap Connector | Approved Materials List | TS
| Splice Kit | Approved Materials List | TS
Grounding Equipment
| 1/2" x 10' Ground Rod | Approved Materials List | TS
| Ground Rod Clamp (1/2") | Approved Materials List | TS
| Solid Copper Ground Cable (Bare Copper # 6 AWG) | Approved Materials List | TS
Junction Boxes &Service Boxes
| Type 1 Service Box | Approved Materials List | TS
| Type 1 Junction Box | Approved Materials List | TS
| Type 2 Junction Box | Approved Materials List | TS
Lamps
| _____ Watt High Pressure Sodium (HPS) Lamp | Approved Materials List | TS
Luminaires
| Cobra-Head Luminaire | Approved Materials List | TS
| Post-Top Luminaire | Approved Materials List | TS
| LED Class ___ Luminaire | Approved Materials List | TS
Poles
| 40' Aluminum Pole (OP401) | Approved Materials List | TS
| 40' Aluminum Pole (OP402) | Approved Materials List | TS
| 40' Aluminum Pole (OP403) | Approved Materials List | TS
| 30' Aluminum Pole (OP301) | Approved Materials List | TS
| 30' Aluminum Pole (OP302) | Approved Materials List | TS
| 30' Aluminum Pole (OP303) | Approved Materials List | TS
| 14' Aluminum Pole (OP14) | Approved Materials List | TS
| Bracket Arms | Approved Materials List | TS
Pole Foundations
| Type F1 Screw-in Foundations | Approved Materials List | TS
| Type F2 Screw-in Foundations | Approved Materials List | TS
| Type T1 Screw-in Foundations | Approved Materials List | TS
| Type R Screw-in Foundations | Approved Materials List | TS
| Concrete Foundation for Pole | Approved Materials List | TS
| Concrete Pole Foundation Cap | Approved Materials List | TS
Photocell
| Photocell | Approved Materials List | TS
Traffic Signals
Anchor Bolts
| Anchor Bolts for Mast Arm Poles | Shop Drawings | TS
| Anchor Bolts for Pedestrian Poles | Shop Drawings | TS
| Screw-in Foundation for P.B. Pedestal Pole | Approved Materials List | TS
Backplates
| Backplate 5" (3 Section Vehicular Signal) | Approved Materials List | TS
| Backplate 5" (4 Section Vehicular Signal) | Approved Materials List | TS
Cable
| Multi-Conductor Cable 7c # 14 AWG | Approved Materials List | TS
| Multi-Conductor Cable 2c # 14 AWG (From Ped Pushbutton to Pole Base) | Approved Materials List | TS
| Video Detection Cable | Approved Materials List | TS
| CCTV Camera Data Cable | Approved Materials List | TS
| Electrical Service Power Cable 3-1c #4 AWG | Approved Materials List | TS
| Ethernet Cables (6' long) | Approved Materials List | TS
| Detector Loop Wire 1c #14 AWG THHN/THWN in PVC Tube | Approved Materials List | TS
| Shielded Detector Lead-In 2c # 14 AWG | Approved Materials List | TS
| CNG Monitoring Cable 3c # 14 AWG | Approved Materials List | TS
| CNG Power Cable 3c # 2 AWG | Approved Materials List | TS
| CNG Alarm Cable 2c # 14 AWG | Approved Materials List | TS
| Emergency Vehicle Pre-empt (EVP) Cable | Approved Materials List | TS
| Radar Detector Home Run Cable | Approved Materials List | TS
| Radar Detector Cable Harness | Approved Materials List | TS
| Illuminated Street Name Sign Cable 3c # 14 AWG | Approved Materials List | TS
| Illuminated Blank-Out Sign Power Cable (3c # 14 AWG) | Approved Materials List | TS
| Stranded Copper Ground Cable (Green) 1c#10 AWG THHN/THWN | Approved Materials List | TS
| Stranded Copper Locating Cable (Red) 1c#10 AWG THHN/THWN | Approved Materials List | TS
Concrete Mix Design
| Controller Foundation & Pole Foundations | Mix Design | TS
Conduit and Fittings
| Sch 40 PVC (Gray) Conduit 2" or SDR 13.5 HDPE (Blk w/Red Stripe) Conduit 2" | Approved Materials List | TS
| PVC Conduit Couplings | Approved Materials List | TS
| Standard PVC Conduit Elbows | Approved Materials List | TS
Large Radius PVC Conduit Elbows (Electrical Service)
| SDR 13.5 HDPE (Red w/White Stripe) Fiber Optic Conduit 1.5" | Approved Materials List | TS
| SDR 13.5 HDPE (Red w/White Stripe) Fiber Optic Conduit 2" | Approved Materials List | TS
| SDR 13.5 HDPE (Red w/White Stripe) Fiber Optic Conduit 3" | Approved Materials List | TS
| SDR 13.5 HDPE (Red w/White Stripe) Fiber Optic Conduit 4" | Approved Materials List | TS
| HDPE Conduit Couplings | Approved Materials List | TS
Controller Cabinet
| 333 Hybrid Cabinet w/ 8" Base Riser | Approved Materials List | TS
| 332 Stretch Hybrid Cabinet w/ 8" Base Riser | Approved Materials List | TS
Controller & Equipment
| Rackmount Controller Unit w/ Firmware | Approved Materials List | TS
| Malfunction Management Unit (MMU) | Approved Materials List | TS
| Cabinet Surge Protector Unit | Approved Materials List | TS
| Electrical Service Surge Protector Unit | Approved Materials List | TS
| 204 Flasher Unit | Approved Materials List | TS
| 200 Switchpack (Load Switch) | Approved Materials List | TS
| 430 Flasher Transfer Relay | Approved Materials List | TS
| Two Channel Detector | Approved Materials List | TS
| Four Channel Detector | Approved Materials List | TS
| Bus Interface Unit (BIU) | Approved Materials List | TS
| EVP Discriminator Module 2-Channel | Approved Materials List | TS
| EVP Discriminator Module 4-Channel | Approved Materials List | TS
| K1 Control Relay | Approved Materials List | TS
| Power Distribution Unit (Rack Mounted) 8 Recept. | Approved Materials List | TS
| RJ-45 Data Protector for CCTV Cameras | Approved Materials List | TS
| Radar SDLC Cabinet Interface Module | Approved Materials List | TS
Detectors
| Emergency Vehicle Pre-empt (EVP) Detector | Approved Materials List | TS
| Standard Pedestrian Pushbutton | Approved Materials List | TS
| Audible Pedestrian Signal System | Approved Materials List | TS
| Video Detection System ( - Camera) | Approved Materials List | TS
| CCTV Camera w/ RJ-45 Connector Kit & High PoE Midspan 1-port | Approved Materials List | TS
| Advanced Radar Detector Sensor | Approved Materials List | TS
| Presence Radar Detector Sensor | Approved Materials List | TS
Electrical Service Pedestal Enclosures
| Secondary Aluminum Service Enclosure w/30amp Main | Approved Materials List | TS
Grounding Equipment
| Ground Rod (1/2" x 8') Service Boxes | Approved Materials List | TS
| Ground Rod & Clamp (1/2" x 10') | Approved Materials List | TS
| Ground Rod Clamp (1/2") | Approved Materials List | TS
| Solid Bare Copper Ground Wire 1c # 6 AWG | Approved Materials List | TS
Junction Boxes & Service Boxes
| Junction Box Type 1 | Approved Materials List | TS
| Junction Box Type 2 | Approved Materials List | TS
| Service Box Type 1 | Approved Materials List | TS
| Service Box Type 2 | Approved Materials List | TS
Mounting Brackets for Signal Equipment
| Mast Arm Vehicle Signal Head Bracket (3 & 4 Section) | Approved Materials List | TS
| Side Pole Bracket (Vehicle & Pedestrian Signal Heads) | Approved Materials List | TS
| Mini Astro Brac for Emergency Vehicle Pre-emption (EVP) Detector | Approved Materials List | TS
| CCTV Camera Mounting Arm Bracket | Approved Materials List | TS
| Video Detection Camera Mounting Bracket (Luminaire Arm) | Approved Materials List | TS
| Combined Video Detection Camera /Signal Head Mounting Bracket (Mast Arm) | Approved Materials List | TS
| Video Detection Camera Mounting Bracket (Side of Pole) | Approved Materials List | TS
| Advanced Radar Detector Mounting Bracket | Approved Materials List | TS
| Presence Radar Detector Mounting Bracket | Approved Materials List | TS
Poles, Mast Arms and Luminaire Arms
| Galvanized Steel Signal Pole, Mast Arm & Luminaire Arm | Shop Drawings | TS
| Traffic Signal Pedestal Pole Aluminum (14') | Approved Materials List | TS
| Traffic Signal Pedestal Pole Aluminum (13') | Approved Materials List | TS
| Traffic Signal Pedestal Pole Aluminum (9') | Approved Materials List | TS
| Cast Aluminum Pedestrian Pole Base | Approved Materials List | TS
| Cast Aluminum Pedestrian Pole Cap | Approved Materials List | TS
| Pedestal Pole Mounting Collar | Approved Materials List | TS
| P.B. Pedestal Pole | Approved Materials List | TS
Power Backup System
| Compressed Natural Gas (CNG) Generator & Cabinet w/Landscaping | Approved Materials List | TS
| Concrete Conpressed Natural Gas (CNG) Generator Pad | Approved Materials List | TS
| Battery Backup UPS System & Accessories | Approved Materials List | TS
| UPS Batteries and Cables | Approved Materials List | TS
| Portable Generator Outlet with 8' Cable Harness | Approved Materials List | TS
Signal Heads
| Vehicular Signal Head | Approved Materials List | TS
| Pedestrian Signal Head (1 Section) | Approved Materials List | TS
| Red Ball LED Kit | Approved Materials List | TS
| Yellow Ball LED Kit | Approved Materials List | TS
| Green Ball LED Kit | Approved Materials List | TS
| Red Arrow LED Kit | Approved Materials List | TS
| Yellow Arrow LED Kit | Approved Materials List | TS
| Green Arrow LED Kit | Approved Materials List | TS
| Dual Indication Green/Yellow LED Arrow Kit | Approved Materials List | TS
| Orange/White "Hand/Man" Countdown LED Kit | Approved Materials List | TS
Sign Brackets
| Illuminated Street Name Sign Mast Arm Bracket | Approved Materials List | TS
| Overhead Street Name Mast Arm Sign Bracket | Approved Materials List | TS
| Mast Arm Sign Bracket | Approved Materials List | TS
| Side of Pole Sign Bracket | Approved Materials List | TS
| Side of Pole Sign Banding | Approved Materials List | TS
| Side of Pole Sign Buckle | Approved Materials List | TS
Traffic Signal Signs
| Illuminated Street Name Signs (19" x - ") | Shop Drawings | TS
| Illuminated Street Name Signs (19" x - ") | Shop Drawings | TS
| D3-1 Overhead Street Name Signs | Shop Drawings | TS
| Aluminum Sign Blanks & Type XI Sheeting | Approved Materials List | TS
Fiber Optic
Cable
| Fiber Optic Cable | Approved Materials List | TS
| Fiber Optic Patch Cable | Approved Materials List | TS
| ITS Termination Drop Cable | Approved Materials List | TS
Conduit and Fittings
| SDR 13.5 HDPE Fiber Conduit | Approved Materials List | TS
| HDPE Couplings | Approved Materials List | TS
Ethernet Switch Equipment
| Fiber Optic Ethernet Switch and Power Supply | Approved Materials List | TS
| Extension Module | Approved Materials List | TS
| Switch Rack | Approved Materials List | TS
| SFP Modules | Approved Materials List | TS
Locating Equipment
| 1c #10 AWG Tracer Cable | Approved Materials List | TS
| 1/2" x 8' Ground Rod | Approved Materials List | TS
| Ground Rod Clamp (1/2") | Approved Materials List | TS
Service Boxes
| Type 1 Fiber Optic Service Box | Approved Materials List | TS
| Type 2 Fiber Optic Service Box | Approved Materials List | TS
Splice Enclosures
| Fiber Optic Splice Enclosures | Approved Materials List | TS
Pavement Marking
Contrast Durable Patterned Cold Plastic
| Yellow Contrast Durable Patterned Cold Plastic | Certification | TS
| White Contrast Durable Patterned Cold Plastic | Certification | TS
Durable Patterned Cold Plastic
| Yellow Durable Patterned Cold Plastic | Certification | TS
| White Durable Patterned Cold Plastic | Certification | TS
Epoxy
| Yellow Epoxy | Certification | TS
| White Epoxy | Certification | TS
Glass Beads
| Glass Beads | Certification | TS
Paint
| Yellow Paint | Certification | TS
| White Paint | Certification | TS
Preformed Thermoplastic Tape
| Yellow Performed Thermoplastic Markings | Certification | TS
| White Performed Thermoplastic Markings | Certification | TS
Thermoplastic
| Yellow Thermoplastic Pavement Markings | Certification | TS
| White Thermoplastic Pavement Markings | Certification | TS
Urethane Acrylate
| Yellow Urethane Acrylate Pavement Markings | Certification | TS
| White Urethane Acrylate Pavement Markings | Certification | TS
Permanent Signing
Aluminum Sign Blanks
| Overhead Street Name Signs | Catalog Cuts | TS
| Ground Mounted Street Name Signs | Catalog Cuts | TS
| Aluminum Sign Blanks | Certification | TS
Sign Brackets
| Mast Arm Sign Mounting Astro Bracket | Approved Materials List | TS
| Street Name Sign Side Mounting Bracket | Approved Materials List | TS
| Round Pole Mounting Sign Brackets | Approved Materials List | TS
| Steel Sign Banding and Buckles | Approved Materials List | TS
Posts
| Sign Posts 1 3/4" x 1 3/4" x Var. | Approved Materials List | TS
| Post Anchor 2" x 2" x 3' | Approved Materials List | TS
| Anchor Sleeves 2 1/4" x 2 1/4" x 18" | Approved Materials List | TS
Sign Sheeting
| Sign Sheeting | Approved Materials List | TS
Traffic Conntrol
Arrow Panels
| Flashing Arrow Panels | Approved Materials List | TS
Barricades
| Type I Barricades | Approved Materials List | TS
| Type II Barricades | Approved Materials List | TS
| Type III Barricades | Approved Materials List | TS
| ADA Pedestrian Barricades | Approved Materials List | TS
Changeable Message Signs
| Changeable Message Signs | Approved Materials List | TS
Channelizing Devices
| Conical Delineators | Approved Materials List | TS
| Drums | Approved Materials List | TS
Inertial Barrier Systems
| Sand Barrels | Shop Drawings | TS
Sign Sheeting
| Sign Sheeting | Approved Materials List | TS
Sign Stands
| Sign Stands | Approved Materials List | TS
Temporary Pavement Marking
| Paint | Approved Materials List | TS
| Removable Tape | Approved Materials List | TS
| Non-Removable Tape | Approved Materials List | TS
Warning Lights
| Type A Flashers | Approved Materials List | TS
PM = Project Manager
CI = Construction Inspector
CO = Consultant
TS = Traffic Services
CF = City Forester